### Annual Regulatory Compliance & Inspection Report

Document Type: Inspection Record Equipment Name: High-Pressure Boiler System Equipment ID: B-550 Serial Number: SN-8834-BR Compliance Relevance: Critical (OSHA/EPA)

1. Inspection Summary This document serves to track compliance relevance for pressure vessels. An audit of the facility's safety records revealed a critical regulatory violation regarding B-550.

2. Violation Details This equipment hasn't been inspected in 14 months. Federal safety regulations require an annual inspection for all high-pressure boiler systems operating above 150 PSI.

3. Remediation Mandate

- Immediate Action: Suspend operation of B-550 until a certified third-party inspector completes a full hydrostatic test.

- System Update: The compliance tracking module must automatically detect such violations and generate compliance reports 30 days prior to the deadline.